## DATA_MEASUREMENT_COL
SITE_CODE | STATION_CODE | VERT_OFFSET | HORI_OFFSET | TIME | Temp | Sal | Cond | DO% | DO (mg/L) | Chl | Tal_Ph | Turb | FLAGQUA | EVENT_ID | SAMPLE_ID
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | 6.55 |  | 2024-06-11 | 25.4905 | 35.5721 | 54355.6786 | 119.1143 | 7.9736 | -0.0085714 | 0.0014286 | 0.57143 | E | IT22_EXO2_20240611
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | 0.35 |  | 2024-09-10 | 28.1966 | 34.0054 | 55002.3179 | 100.9321 | 6.5168 | 0.0042857 | -0.041429 | -0.011522 | E | IT22_EXO2_20240910
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | 16.0909 |  | 2024-12-02 | 15.8561 | 30.9909 | 39240.7091 | 96.1273 | 7.8818 | 0.031818 | -0.23273 | 0.28636 | E | IT22_EXO2_20241202
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | 19.4857 |  | 2025-03-04 | 14.0451 | 36.9714 | 44083.2071 | 105.2571 | 8.6243 | 0.012143 | -0.18571 | 0.535 | E | IT22_EXO2_20250304
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | 28.6 |  | 2025-06-03 | 22.2529 | 34.276 | 49291.97 | 108.35 | 7.729 | -0.052 | -0.249 | 0.201 | E | IT22_EXO2_20250603

## STATION
SITE_CODE | STATION_CODE | STYPE | LON | LAT | ALTITUDE | PLOTSIZE | COMMENT | GEOSPAT_FEATURE
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | Area | 40.4795 | 17.228 | 0 |  |  | https://deims.org/locations/6aeec624-cae9-4808-b16b-30e629a72f22

## METHOD
VARIABLE | METH_DESCR | UNIT
Temp | Average value of the temperature collected seasonally with a multiparametric probe EXO2 | Degrees Celsius
Sal | Average value of the salinity collected seasonally with a multiparametric probe EXO2 | Practical salinity units
Cond | Average value of the conductivity collected seasonally with a multiparametric probe EXO2 | MicroSiemens per centimetre
DO% | Average value of the percentage of dissolved oxygen collected seasonally with a multiparametric probe EXO2 | Percent
DO (mg/L) | Average value of the concentration of dissolved oxygen collected seasonally with a multiparametric probe EXO2 | Milligrams per litre
Chl | Average value of the chlorophyll collected seasonally with a multiparametric probe EXO2 | RFU
Tal_Ph | Average value of the phycoerythrin collected seasonally with a multiparametric probe EXO2 | RFU
Turb | Average value of the turbidity collected seasonally with a multiparametric probe EXO2 | Nephelometric Turbidity Units

## REFERENCE
FIELD_NAME | CODE | NAME | DEFINITON | LIST_CODE | CODE_URL
Temp | TEMP | Temperature of the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/TEMP
Sal | PSAL | Salinity of the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/PSAL
Cond | CNDC | Electrical conductivity of the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/CNDC
DO% | DOXY | Dissolved oxygen parameters in the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/DOXY
DO (mg/L) | DOXY | Dissolved oxygen parameters in the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/DOXY
Chl | CPWC | Chlorophyll pigment concentrations in water bodies |  |  | http://vocab.nerc.ac.uk/collection/P02/current/CPSD/
Tal_Ph | PHYC | Phycobolin pigment concentrations in the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/PHYC
Turb | TSED | Concentration of suspended particulate material in the water column |  |  | http://vocab.nerc.ac.uk/collection/P02/current/TSED

## EVENT
SITE_CODE | STATION_CODE | EVENT_ID | SAMPLE_ID | TIME_FROM | TIME_TO | METH_DESCR | EVENT_EFFORT | UNIT | PHYS_SAMPLE | NOTES
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | IT22_EXO2_20240611 |  | 2024-06-11 | 2024-06-11 | Data acquisition (variables as reported in "Reference") by means a multiparametric probe EXO 2
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | IT22_EXO2_20240910 |  | 2024-09-10 | 2024-09-10 | Data acquisition (variables as reported in "Reference") by means a multiparametric probe EXO 2
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | IT22_EXO2_20241202 |  | 2024-12-02 | 2024-12-02 | Data acquisition (variables as reported in "Reference") by means a multiparametric probe EXO 2
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | IT22_EXO2_20250304 |  | 2025-03-04 | 2025-03-04 | Data acquisition (variables as reported in "Reference") by means a multiparametric probe EXO 2
https://deims.org/ac3f674d-2922-47f6-b1d8-2c91daa81ce1 | Scaletta | IT22_EXO2_20250603 |  | 2025-06-03 | 2025-06-03 | Data acquisition (variables as reported in "Reference") by means a multiparametric probe EXO 2